Hagen: Textbook of Diagnostic Sonography, 7th Edition

Chapter 01: Foundations of Sonography

Test Bank

MULTIPLE CHOICE

1.	Historically, the development of ultrasound began shortly after:

| a. | Radio communication in World War I |
| --- | --- |
| b. | Sonar in World War II |
| c. | Nuclear testing in World War II |
| d. | The launching of Sputnik |

ANS:	B

World War II brought sonar equipment to the forefront for defense purposes. Ultrasound was influenced by the success of sonar equipment.

PTS:	1	REF:	p. 5

OBJ:	Detail a timeline for pioneers in the advancement of medical diagnostic ultrasound.

TOP:	History of ultrasound

2.	The early applications of obstetric ultrasound were initiated by:

| a. | Joseph Holmes |
| --- | --- |
| b. | Ian Donald |
| c. | John Howry |
| d. | William Fry |

ANS:	B

The early obstetric compound scanner was built by Tom Brown and Dr. Ian Donald in Scotland in 1957.

PTS:	1	REF:	p. 6

OBJ:	Detail a timeline for pioneers in the advancement of medical diagnostic ultrasound.

TOP:	History of ultrasound

3.	Visualization of the cardiac structures in the heart was discovered by:

| a. | Joseph Holmes |
| --- | --- |
| b. | Ian Donald |
| c. | Hertz and Edler |
| d. | George Ludwig |

ANS:	C

In 1954, echocardiographic techniques were developed in Sweden by Drs. C.H. Hertz and I. Edler.

PTS:	1	REF:	p. 6

OBJ:	Detail a timeline for pioneers in the advancement of medical diagnostic ultrasound.

TOP:	History of ultrasound

4.	Which one of the following statements about the role of sonographers is false?

| a. | Sonographers perform ultrasound studies and gather diagnostic data independent of the physician. |
| --- | --- |
| b. | Sonographers must possess intellectual curiosity and perseverance. |
| c. | Sonographers must have a technical aptitude. |
| d. | Sonographers must be able to communicate on different levels. |

ANS:	A

A sonographer performs ultrasound studies gathering diagnostic data under both the direct and the indirect supervision of a physician. They also must assess clinical history and symptoms, interpret laboratory values, and understand other diagnostic examinations.

PTS:	1	REF:	p. 3

OBJ:	Describe a career in ultrasound.

TOP:	Role of the sonographer

5.	In soft tissues, the assumed propagation velocity is (in meters per second):

| a. | 1320 |
| --- | --- |
| b. | 1450 |
| c. | 1540 |
| d. | 1650 |

ANS:	C

In soft tissues, the assumed propagation velocity (speed) is 1540 meters per second.

PTS:	1	REF:	p. 8

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

6.	Diagnostic ultrasound uses the frequencies of:

| a. | 10 to 15 kHz |
| --- | --- |
| b. | 1 to 20 kHz |
| c. | 100 to 1000 Hz |
| d. | 1 to 20 MHz |

ANS:	D

Diagnostic application of ultrasound uses frequencies 1 to 20 million cycles per second (1 to 20 MHz).

PTS:	1	REF:	p. 7

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

7.	Which one of the following correctly defines dynamic range?

| a. | Field farthest from the transducer during formation of the sound beam |
| --- | --- |
| b. | Ratio of the largest to the smallest signals that an instrument can respond to without distortion |
| c. | Minimum distance between two structures positioned along the axis of the sound beam |
| d. | Measure of the strength of the ultrasound signal |

ANS:	B

Dynamic range is the ratio of the largest to the smallest signals that an instrument or component of an instrument can respond to without distortion.

PTS:	1	REF:	p. 17

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

8.	The device that converts energy from one form to another is called the:

| a. | Digitizer |
| --- | --- |
| b. | Transducer |
| c. | Scan converter |
| d. | Beam former |

ANS:	B

Piezoelectric elements (transducers) convert electric energy into ultrasound energy and vice versa.

PTS:	1	REF:	p. 11

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

9.	The _____ is the product of the velocity of sound in a medium and the density of that medium.

| a. | Acoustic impedance |
| --- | --- |
| b. | Sound reflection |
| c. | Angle of reflection |
| d. | Piezoelectric effect |

ANS:	A

The acoustic impedance is equal to the density multiplied by the sound propagation speed.

PTS:	1	REF:	p. 9

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

10.	The angle of reflection is equal to the:

| a. | Acoustic impedance |
| --- | --- |
| b. | Angle of incidence |
| c. | Refraction |
| d. | Image resolution |

ANS:	B

Angle of reflection is the angle between the reflected sound direction and a line perpendicular to the media boundary.

PTS:	1	REF:	p. 5

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

11.	The best transducer to image the thyroid gland is:

| a. | Curved array, 3 MHz |
| --- | --- |
| b. | Linear array, 5 MHz |
| c. | Sector array, 4 MHz |
| d. | Linear array, 3 MHz |

ANS:	B

High-frequency linear array transducers are generally used for smaller structures.

PTS:	1	REF:	p. 12

OBJ:	Identify ultrasound instruments and discuss their uses.

TOP:	Sonography principles and instrumentation

12.	The display mode that shows time along the horizontal axis and depth along the vertical axis is:

| a. | A mode |
| --- | --- |
| b. | B mode |
| c. | M mode |
| d. | Real time |

ANS:	C

Motion mode (M mode) displays the depth along the vertical axis versus the time along the horizontal axis.

PTS:	1	REF:	p. 14

OBJ:	Identify ultrasound instruments and discuss their uses.

TOP:	Sonography principles and instrumentation

13.	Which one of the following statements about the Doppler principle is false?

| a. | Doppler refers to a change in frequency in which the motion of laminar flow is detected within a vascular structure. |
| --- | --- |
| b. | The beam should be perpendicular to the flow. |
| c. | The Doppler shift is directly proportional to the velocity of the red cell. |
| d. | If the cell moves away from the transducer, then the fall in frequency is directly proportional to the velocity and direction of the red blood cell movement. |

ANS:	B

The beam should be parallel to the flow to obtain the maximum velocity. The frequency of the Doppler shift is proportional to the cosine of the Doppler angle. At a 90-degree angle (perpendicular to flow), the Doppler shift is zero, regardless of the flow velocity.

PTS:	1	REF:	p. 17

OBJ:	Discuss three-dimensional and Doppler ultrasound.

TOP:	Sonography principles and instrumentation

14.	The Fresnel zone is also called the:

| a. | Far field |
| --- | --- |
| b. | Focal point |
| c. | Near zone |
| d. | Nyquist limit |

ANS:	C

The Fresnel or near zone is the field closest to the transducer during the formation of the sound beam.

PTS:	1	REF:	p. 16

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation

15.	The higher the transducer frequency, the:

| a. | Shorter the wavelength |
| --- | --- |
| b. | Faster the frame rate |
| c. | Deeper the penetration depth |
| d. | Slower the frame rate |

ANS:	A

The higher the frequency, the shorter the wavelength.

PTS:	1	REF:	p. 9

OBJ:	Demonstrate an understanding of the basic principles and terminology of ultrasound.

TOP:	Sonography principles and instrumentation