Fauber: Radiographic Imaging & Exposure, 3rd Edition

Chapter 1: Radiation and Its Discovery

Test Bank

MULTIPLE CHOICE

1.	When were x-rays discovered?

| a. | October 8, 1985 |
| --- | --- |
| b. | November 8, 1895 |
| c. | January 23, 1896 |
| d. | August 15, 1902 |

ANS:	B

X-rays were discovered by Wilhelm Conrad Roentgen on November 8, 1895.

2.	What type of tube was Roentgen working with in his lab when x-rays were discovered?

| a. | Crookes tube |
| --- | --- |
| b. | Fluorescent tube |
| c. | High-vacuum tube |
| d. | Wurzburg tube |

ANS:	A

Roentgen was working with a low-vacuum tube known as a Crookes tube.

3.	Which of the following terms could be defined as the instantaneous production of light caused by an interaction between a type of energy and some element or compound?

| a. | Phosphorescence |
| --- | --- |
| b. | Afterglow |
| c. | Glowing |
| d. | Fluorescence |

ANS:	D

Fluorescence is the instantaneous emission of light from a material due to the interaction with some type of energy.

4.	Barium platinocyanide was the:

| a. | type of dark paper Roentgen used to darken his laboratory. |
| --- | --- |
| b. | material Roentgen used to produce the first radiograph of his wife’s hand. |
| c. | metal used to produce the low-vacuum tube. |
| d. | fluorescent material that glowed when the tube was energized. |

ANS:	D

A piece of paper coated with barium platinocyanide glowed each time Roentgen energized his tube.

5.	The first radiograph produced by Roentgen, of his wife’s hand, required an exposure time of:

| a. | 15 seconds. |
| --- | --- |
| b. | 150 seconds. |
| c. | 15 minutes. |
| d. | 150 minutes. |

ANS:	C

It took a 15-minute exposure time to produce the first radiograph.

6.	The letter “x” in x-ray is the symbol for:

| a. | electricity. |
| --- | --- |
| b. | the unknown. |
| c. | penetrating. |
| d. | discovery. |

ANS:	B

The letter “x” represents the mathematical symbol of the unknown.

7.	The first Nobel Prize for physics was received in 1901 by:

| a. | Marie Curie. |
| --- | --- |
| b. | Crookes. |
| c. | Wilhelm Roentgen. |
| d. | Einstein. |

ANS:	C

Wilhelm Roentgen received the first Nobel Prize for physics in 1901.

8.	Erythema, an early sign of biological damage due to x-ray exposure, is:

| a. | reddening of the skin. |
| --- | --- |
| b. | a malignant tumor. |
| c. | a chromosomal change. |
| d. | one of the most serious effects of x-ray exposure. |

ANS:	A

Erythema is reddening and burning of the skin, an early and less serious effect of exposure to large doses of x-radiation.

9.	X-rays have which of the following properties?

| a. | Electrical properties |
| --- | --- |
| b. | Magnetic properties |
| c. | Chemical properties |
| d. | a and b |

ANS:	D

X-rays, a type of electromagnetic radiation, have both electrical and magnetic properties.

10.	The distance between two successive crests of a sine wave is known as:

| a. | an angstrom. |
| --- | --- |
| b. | frequency. |
| c. | the Greek letter nu. |
| d. | wavelength. |

ANS:	D

The distance between two successive crests or troughs of a sine wave is the measure of its wavelength.

11.	X-rays used in radiography have wavelengths that are measured in:

| a. | angstroms. |
| --- | --- |
| b. | millimeters. |
| c. | centimeters. |
| d. | inches. |

ANS:	A

X-rays in the range used in radiography have wavelengths that are so short that they are measured in angstroms.

12.	The frequency of a wave is the number of waves passing a given point per given unit of time. Frequency is measured in:

| a. | angstroms. |
| --- | --- |
| b. | Hertz. |
| c. | inches. |
| d. | eV. |

ANS:	B

The unit of frequency is Hertz. The frequency of x-rays in the radiography range varies from about 3  1019 to 3  1018 Hz.

13.	Which of the following is a correct description of the relationship between the wavelength and the frequency of the x-ray photon?

| a. | Wavelength and frequency are directly proportional. |
| --- | --- |
| b. | Wavelength and frequency are inversely related by the square root of lambda. |
| c. | Frequency and wavelength are inversely related. |
| d. | Wavelength and frequency have no relationship to each other. |

ANS:	C

Wavelength and frequency are inversely related; as one increases, the other decreases.

14.	A _____ is a small, discrete bundle of energy.

| a. | phaser |
| --- | --- |
| b. | quark |
| c. | photon |
| d. | mesion |

ANS:	C

A photon, or quantum, is a small, discrete bundle of energy.

15.	The speed of light is:

| a. | 3  108 meters per second. |
| --- | --- |
| b. | 3  108 miles per second. |
| c. | 186,000 miles per second. |
| d. | a and c. |

ANS:	D

The speed of light can be described as either 3  108 m/sec or 186,000 miles/sec.

16.	X-rays are invisible.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A

A characteristic of x-rays is that they are invisible.

17.	X-rays carry a negative charge that causes ionization.

| a. | True |
| --- | --- |
| b. | False |

ANS:	B

X-rays are electrically neutral.

18.	X-ray photons travel at the speed of light in a vacuum.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A

In a vacuum x-rays will travel at the speed of light.

19.	X-ray photons are capable of traveling around corners.

| a. | True |
| --- | --- |
| b. | False |

ANS:	B

X-rays travel in straight lines, so they are unable to travel around corners.

20.	Chemical changes may occur as a result of exposure to ionizing radiation.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A

Chemical changes, such as in radiographic or photographic film, occur as a result of exposure to ionizing radiation.